Instrumentation:

While specific instruments and their controlling software vary, microscopes used for single-molecule imaging have very simple configurations compared to setups intended for emission-depletion (STED) and structured illumination (SIM). A wide-field stand with either TIRF or near-TIRF (highly-inclined illumination, HILO) capability, high quality optics (objective, filters, and other lenses), and a sensitive camera (either an EMCCD or sCMOS) for detection is all that is required. Typical laser-lines (and the ones used for our experiments) are 405, 488, 561, and 642. For live-cell imaging, the power requirements are not as high as for the ground-state depletion needed for dSTORM. It is likely however, that the blue (488), yellow (561), and red (642) lasers will be in the range of 500mW to enable STORM imaging. The violet (405) does not need have the same high-power, as it is used to drive ground-state return in STORM and photo-activation/photo-conversion in PALM. There will also likely be some mechanism for z stabilization, such as Nikon’s Perfect Focus. Care needs to be taken to control for drift in X, Y, and Z. For longer-term imaging, fiducial fluorescent beads or other methods can be used for post-hoc drift correction.

Single-molecule time-lapse imaging:

Depending upon the labeling method and probes used, the spectral channel and excitation line(s) will vary. The temporal sampling rate (frame interval) is a very important parameter to consider and must be balanced with the signal-to-noise of the single-molecule images. Faster moving molecules will require faster frame-rates (50 Hertz – 50 frames per second is a good target rate) in order to adequately capture temporal behavior/diffusion states. However, precise localization of molecules (discussed further in the processing section), relies upon high signal (photo counts) per frame from individual fluorescent probes. This scales inversely with the frame-rate; dimmer probes will require longer integration times (exposure times) per frame. Trans-membrane proteins and even peripherally membrane associated proteins will have slower mobilities, so frame-rates of 20 Hertz may be sufficient to capture the dynamic properties of these protein types. Additionally, because of read-out rates, which describes the process of transferring data from the camera to the computer, larger image sizes (e.g. 512 pixels x 512 pixels) will have frame-rate limits because the time required to read out data scales with the number of pixels in the image. This is especially a issue with EMCCDs with have a slower transfer-rate than sCMOS cameras that can read-out large number of pixels at a fast rate (check your camera type and parameters to determine how this technical element will affect your acquisition speed).

The density of single-molecule images (events) per frame is another important element when determining the imaging parameters of the raw time-lapse. In all single-molecule localization based super-resolution methods, overlapping point-spread-functions (PSFs) from dense events greatly confound the fitting step that identifies the coordinates of the source molecule. In tracking experiments, the sparsity requirement is even more rigorous. Linking methods need to evaluate localizations in sequential frames to determine if events across frames are from the same source molecule, and thus should be linked as part of a trajectory, or are the result of a new molecule becoming detectable. Denser datasets make this process more difficult.

 Biological prep:

Pre-labeling sample preparation will not be covered in detail here. Numerous protocols are available (perhaps even in some of the methodology from other projects in the course).

Typically single-molecule imaging experiments are done with primary, disassociated, cell cultures. It is more challenging to do this type of imaging in slice, however these type of studies are becoming more common. The experiments done during this course project used primary hippocampal cultures, harvested at E19 (P0 or P1 is also possible).

In this project, we used a number of exogenously expressed constructs, consisting of protein of interested fused to a genetically encoded tag or fluorescent protein. These types of tools are commonly used, however, there are always caveats that must be evaluated whenever over-expressed constructs are used. With the advent of crisper-based methods that utilize endogenous transcriptional machinery by integrating into the native locus , some of these concerns can be mitigated, however the introduction of a tag may still impair normal function.

Transfections were performed between day-in-vitro (DIV) 14 and 16, imaging 1 to 3 days after. Lipofectamine 2000 was used at the transfection reagent, using approximately 1.5 ug of plasmid DNA plus 1 ul of Lipofectamine per well (18mm), with an incubation period of up to 90 minutes. Specific transfection parameters will almost always require some empirical optimization and will ultimately depend upon the biological question and the constructs used. As a general rule of thumb, less is better: minimal amounts of DNA and transfection reagent with as short an incubation period as possible.

Single-molecule imaging of a cytoplasmic protein tagged with a photo-convertible fluorescent protein:

Constructs:
AKAP79-mEos3.2
Gephyrin-Intrabody(FingR)-eGFP

For these imaging experiments, they mobility of a cytoplasmic signaling scaffolding protein, A kinase anchoring protein 79 (AKAP79) is studied using single-molecule imaging of the red-state of a photo-convertible fluorescent protein mEos3.2. An additional marker, a Gephryin FingR construct, with a eGFP fusion, is used to mark the post-synaptic compartment of inhibitory synapses. Although, mEOS3.2 matures into a green-state, the intrinsic brightness of eGFP is much higher than the brightness of the green-state of mEos3.2, allowing easy visualization of gephyrin puncta against the mostly uniform distribution of AKAP79.

Imaging process:

Expressing cells are found using lamp illumination (GFP filterset). A reference image is taken showing the distribution of mEOS, along with puncta marking synapses. The raw single-molecule time-series is acquired at a frame rate of ~20 Hertz (frame interval ~52 milliseconds) using 561 excitation. Low levels of 405 are used to drive photo-conversion of the mEos3.2 protein, care needs to be taken to balance the photo-conversion rate and the rate of photo-bleaching to retain the required sparsity of events. Because the goal is to be able to image longer trajectories, it is better to have a low photo-conversion rate, so that the excitation levels can be kept at a level that results in good photon yield, but at the same time, allows for probes to be detected for as many frames as possible before bleaching. Between 2000 and 5000 frames were collected per acquisition/sample.

Single-molecule imaging by sparse surface-labeling of receptor subunits (uPAINT):

Constructs:
SEP-gamma2 (GABAr subunit)
Gephyrin-Intrabody(FingR)-mScarlet

Imaging process:

Expressing cells are found using lamp illumination (GFP filterset), this allows the visualization of surface receptors, as SEP is a pH sensitive GFP variant that is quenched in internal vesicles, but is able to fluoresce at the extra-cellular side of the cell membrane. Two reference images are taken, one in the 488 channel showing SEP distribution, the second in the 561 (red) channel showing post-synaptic puncta marked by mScarlet. We found that the mScarlet would quickly bleach (or possibly transition to a dark-state), so we used the SEP channel to position the field of view and focal plane. A single snap acquisition was used to capture the mScarlet image.

Once these reference images were taken, a anti-GFP short-chain antibody (nanobody) conjugated to ATTO647N was manually added to the imaging buffer at a concentration of 1:50,000 (this was empirically determined, but the range should fall between 1:50,000 and 1:150,000). Care must be taken to avoid disturbing the sample position during this process (fiducials can be added to the sample to facilitate post-hoc alignment of reference images with single-molecule acquisition if the position has shifted slightly). Time-lapse imaging in the 642 channel should begin as soon as possible to avoid the accumulation of too many bound antibodies. In this imaging case, the balance is between the rate of nanobody binding and bleaching. The frame-rate for this imaging was 20 Hz with between 2000 and 5000 frames per acquisition.

Image processing and Analysis:

Note: Code, guidance on processing and analysis, as well as this experimental protocol and list of references will appear on a GitHub repository set up for this course project. This repository will evolve as new methods come online.

There are many options for the processing and analysis of single-molecule data. My own personal philosophy is to avoid using “closed” commercial analysis pipelines. There are a number of good open-source tools available as alternative. For our experiments, we used the ImageJ pluging, ThunderSTORM for the single-molecule localization step. Coordinate data was passed to a Matlab script which called C++ scripts (“Track and Trace”) for fast nearest-neighbor linking of molecules to form trajectories. Jump-distance and mean square displacement we calculated using portions of published Matlab code (“Track It” and “MSD analyzer”). Links to this code and relevant references will be available on the GitHub repository.

As noted, there are many options for different analysis pipelines. The “Track Mate” package of ImageJ macros is a good option for those who do not have access to Matlab. There are also a couple of Python processing analysis workflows that I will be testing in the future. Links to these scripts will also be made available on the GitHub repository.

GitHub repository:
https://github.com/VVvanL/CajalCourse_2023/tree/main
Email:
kevin.crosby@cuanschutz.edu

Note: As of December 10th, the GitHub repository an empty placeholder, however over the next couple of weeks, I will start adding links, code, and methods. Feel free to contact me with any questions regarding these techniques.